TEXAS A&M INTERNATIONAL

### UNIVERSITY

HAZARDOUS WASTE MANAGEMENT PROGRAM

#### TABLE OF CONTENTS

| I. Introduction. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | 3 |
| --- | --- |
| II. Hazardous Waste Disposal Regulations. . . . . . . . . . . . . . . . . . . . | 3 |
| III. Hazardous Waste Disposal Program. . . . . . . . . . . . . . . . . . . . . . | 4 |
| IV. Emergency Procedures. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | 9 |
| Appendix A – Definitions. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | 10 |
| Appendix B - Identification of Hazardous Chemical Waste. . . . | 13 |

###### I.	INTRODUCTION

The purpose of this document is to inform all employees and students at Texas A&M International University regarding Federal and State hazardous waste disposal regulations and to define the TAMIU Hazardous Waste Management Program.  The Program pertains to hazardous chemical waste and does not include procedures for the management of radioactive, infectious, and biological waste.  The TAMIU Physical Plant Department administers the Hazardous Waste Management Program at TAMIU.  Compliance with the program is critical and requires full cooperation by all campus entities.

TAMIU is a "Conditionally Exempt- Small Quantity Generator" (CESQG) of hazardous waste and must comply with State and Federal regulations on waste disposal associated with that classification.  CESQG are exempt from most U.S. Environmental Protection Agency (EPA) regulations.  CESQG are not subject to accumulation time limits, but they are subject to accumulation volume limits.  TAMIU's responsibilities include:

- Determine if the material is "waste" and is "hazardous" as regulated under the Resource Conservation and Recovery Act (RCRA).

- All hazardous waste must be properly packaged, labeled, marked and placard.

- All waste must be transported to a permitted off-site facility for further storage, treatment, and/or disposal.

TAMIU is not permitted to treat or dispose of hazardous waste locally.  It is illegal to dispose of hazardous chemical waste by dilution, evaporation, or dumping into the sanitary or storm sewers or into the local landfill.  The Physical Plant personnel collect, transport, and store hazardous chemical waste prior to final disposal.  In addition, they provide technical information and assistance to individual generators and maintain permanent records of all hazardous chemical waste movement on the main campus.

II.	HAZARDOUS WASTE DISPOSAL

Since Federal and State regulations govern hazardous chemical waste disposal at TAMIU, failure to comply with any hazardous chemical waste regulation may result in substantial fines and penalties for the University; individual generators (e.g., principal investigators, employees) causing the violation may be personally liable.  Violations may range from failure to properly label a container of hazardous waste to intentionally disposing of hazardous chemical waste into the air, down the drain, or in the garbage.

RCRA is administered by the EPA. Under this Act, the EPA has the responsibility for regulating hazardous chemical wastes.  RCRA established a "cradle to grave" hazardous chemical waste management requirement to protect public health and the environment from improper disposal of hazardous chemical waste.  The law went into effect in

November 1980.

The Texas Natural Resource Conservation Commission (TNRCC) administers an equivalent to RCRA for the State of Texas under Industrial Solid Waste and Municipal Hazardous Waste Regulations (Title 3 1, Part IX, Chapter 335).

A waste generator never totally loses liability for environmental damage; therefore, the selection of a reliable disposal facility is very important.  In Texas, penalties for non- compliance may be civil, criminal, or administrative violations with penalties ranging from fines of up to $25,000 per day to a 15-year prison term for individuals.

III.	HAZARDOUS WASTE DISPOSAL PROGRAM

Generators are responsible for following the University disposal procedures, for assuring that their employees are trained in proper disposal procedures, and for properly identifying the hazardous chemical waste generated.  The following procedures are intended to assure compliance with applicable Federal and State regulations for the proper management of hazardous chemical waste and to reduce adverse effects to human health and the environment.

A.  Hazardous Chemical Waste Determination

A material becomes a "waste" when the individual generator determines that it is no longer useful and should be discarded.  If the material is to be discarded, Physical Plant Department must determine whether the chemical waste is non-hazardous or hazardous. A material is a "non-hazardous chemical waste" if it does not meet the definition of "hazardous chemical waste".  A material is a "hazardous chemical waste" if it meets one or more of the following:

- It is a chemical listed on one of the Chemical Tables in Appendix B.

- It is a mixture or solution containing a listed (Appendix B) chemical and a non- hazardous chemical.

- It meets the definition of one of the following:

- Ignitability (flashpoint <60' C or supports combustion.  Has an EPA Hazardous Waste Number of D001);

- Reactivity (e.g., responds violently to air or water, cyanides, explosives, unstable chemicals.  Has an EPA Hazardous Waste Number of D003 );

- Corrosivity (pH <4 or >10. Has an EPA Hazardous Waste Number of D002);

- EPA Toxicity (e.g., pesticides, heavy metals, poisons. Has an EPA Hazardous Waste Number of D004-D043);

- Universal Waste;

- Material is not excluded from regulations.

B. General Information

- Non-hazardous waste may be disposed of using the sanitary sewer or regular trash. Additional information about non-hazardous waste disposal can be obtained from the Physical Plant Department.

- Hazardous chemicals can be treated to reduce the hazard or the quantity of waste in the laboratory if the treatment procedure is included in the experimental protocol.

- Gas cylinders should be returned to the manufacturer or distributor whenever possible.  Non-returnable cylinders should be tagged as hazardous waste.

- Photographic lab waste containing silver must be disposed as hazardous chemical waste.  However, some new developing equipment includes a filtration system that removes the silver.  Photographic lab effluent that does not contain silver may be discarded through the sanitary sewer system.  Please notify the Physical Plant Department if you have this type of equipment.

- "Mixed Waste" (includes both radioactive material and hazardous chemicals) should be initially routed through the Physical Plant Department.

- Chemical waste that is "unknown" will be picked up by the Physical Plant Department.  Place a waste disposal tag on the container using "unknown" for the chemical description.  Generators will be charged for the cost of analysis necessary to determine the chemical identity for proper disposal.

C. Classification and Segregation of Hazardous Chemical Waste

- Hazardous chemical waste is categorized into the following hazard classes.  See Appendix B for more information.

- Halogenated solvents

- Non-halogenated solvents

- Acids (inorganic or organic)

- Bases (inorganic or organic)

- Heavy metals (silver, cadmium, lead, mercury, etc.)

- Poisons (inorganic or organic)

- Reactives (cyanides, sulfides, water reactive chemicals, peroxides, etc.)

- Different classes of hazardous chemical waste must not be commingled in the same waste container.

- Do not combine inorganic heavy metal compounds and organic waste solvents.

- Do not combine non-hazardous waste (e.g., mixture of water, dilute acetic acid, and sodium bicarbonate) with hazardous chemical waste because the mixture becomes hazardous and more costly to dispose.

- Dry materials (paper, rags, towels, gloves, or Kim Wipes, etc.) contaminated with flammable or extremely toxic chemicals must be double-bagged in heavy-duty plastic bags and must be treated as hazardous chemical waste.  Do not use biobazard bags.

- Sharps (needles, razor blades, etc.) are classified as biohazardous waste even if they are not contaminated.  Sharps must be encapsulated (Place the sharps in a “puncture resistant" container or plastic/metal container.  Discard the containers of sharps as biohazardous waste. Contact the Physical Plant Department for additional information.

D. Containment and Storage of Hazardous Chemical Waste

- Waste generators must maintain custody and control of the storage areas and ensure the waste is accessible to Physical Plant personnel.

- Individual waste generators shall assure that their hazardous chemical wastes are accumulated in safe, transportable containers, properly labeled, and stored to prevent human exposure to or environmental release of the waste materials.

- Waste generators shall provide their own waste containers that are compatible with the chemical contents (e.g., do not use metal containers for corrosive waste or plastic containers for organic solvent).  Containers must be in good condition and not leak. All containers must have suitable screw caps or other means of secure closure.  When large waste containers (>10 gallons, total volume) are required, contact the Physical Plant for assistance on selection and placement of appropriate container type and size.

- Never overfill hazardous waste containers.  Expansion and excess weight can lead to spills, explosions, and extensive environmental exposure.

- Containers of solids must not be filled beyond their weight and volume capacity.

- Jugs and bottles should not be filled above the shoulder of the container.

- Closed head cans (5 gallons or less) should have at least two inches of headspace between the liquid level and the head of the container.

- Closed head drums (larger than 5 gallons) should have at least four inches of headspace.

- Containers must be closed or scaled to prevent leakage.  All waste collection containers must be kept closed except  when adding or removing material.

- In addition to the above, Satellite Accumulation Areas must ensure:

- The area is secured from "Unauthorized Entry" and emergency contacts are posted.

- Waste is stored in a designated and marked area.

- These areas must be accessible to Physical Plant personnel.

- Hazardous waste is separated from non-waste chemicals.

- Less than 55 gallons of anyone hazard class of waste or one quart of acutely hazardous waste is being stored.

- Spill Control Equipment is available.

E. Labels and Labeling

- The original chemical label on containers used for waste accumulation must be destroyed or defaced.

- EPA regulations, require that waste containers be labeled with the chemical contents and the words "Hazardous Waste" when the chemical waste is first added.

- Containers at TAMIU can be labeled in one of two methods:

- Using string, attach a completed Hazardous Waste Disposal Tag, available from the Physical Plant Department, to each new waste container when the chemical is first added.  Print the information on the tag legibly.

- For containers larger than 5-gallons, a Hazardous Waste Label, available from the Physical Plant Department, can be used.  These labels have an adhesive back and are placed on the container when the chemical is first added.

F. Disposal

1.	Waste containers that are full and/or ready for disposal are:

- Tagged with a Hazardous Waste Disposal Tag.  Fill in the accumulation start date on the disposal tag, separate the bottom part of the tag, and mail it to the Physical Plant Department.  Upon receiving the bottom part of the tag, Physical Plant schedules to collect the waste.

- Labeled with a Hazardous Waste Label.  Attach a completed Hazardous Waste Disposal Tag including the accumulation start date, separate the bottom part of the tag, and mail it to the Physical Plant Department.  Upon receiving the bottom part of the tag, Physical Plant schedules to collect the waste.

- The Physical Plant Department will not pickup containers with improper caps, leaks, outside contamination, or improper labeling.

- It is illegal to dispose of hazardous chemicals in any of the following ways:

- Disposal through the sanitary drain.

- Intentional evaporation in a fume hood.

- Disposal in the regular trash.

- Empty containers should be placed in a dumpster for disposal with other non- hazardous trash when the following requirements are satisfied.  EPA regulations stipulate that an empty chemical container must:

- not contain free liquid or solid residue,

- be triple rinsed,

- have the label removed or defaced,

- have the lid or cap removed, and

- have a hole punched in the bottom (metal or plastic containers).

IMPORTANT

It is not necessary to break empty glass containers when placed in a dumpster.  Empty chemicals containers not handled in this manner must be treated as hazardous chemical waste (very expensive).

Follow the example below to properly complete your hazardous waste label:  Fill in the Accumulation Start Date and attach a completed waste disposal tag when the waste container is full and/or ready for pickup.

Follow the example below to properly complete your hazardous waste disposal tag:

| Attach an Individual Hazardous Waste Disposal tag to Each Waste Container | 602 |
| --- | --- |
|  | (Attach tag to container with string) |
| Both upper and lower section of the tag must be filled out completely and legibly except for the accumulation date when chemical is first added to a waste container. (This information is essential for record keeping). | HAZARDOUS WASTE DISPOSAL TAG REQUESTOR: ** John Doe DEPT/PART: Chemistry PHONE: 326-2440 CHEMICALS: ***Methylene Chloride, Toluene |
| * Fill in the Accumulation Start Date |  |
| when the waste container is full and/or |  |
| ready for pickup | --------------------------------------------------------------- |
|  | 602 |
| Secure the top part of the tag with a string |  |
| That encircles the top of the container- | HAZARDOUS WASTE DISPOSAL TAG |
| rubber bands, tape and wire are not acceptable. | ACCUMULATION START DATE: * 4/20/00 |
| ** “REQUESTOR” is the Principal Investigator or person in charge of the lab that generated the waste. *** Chemical name/Common Name. | REQUESTOR: **John Doe DEPT/DATE: Chemistry BLDG NAME : Canseco Hall ROOM #: 215 PHONE #: 326-2447 CHEMICALS: ***Methylene Chloride, Toluene |
| Chemical formulas or abbreviations are |  |
| not acceptable. | PHYSICAL PROPERTY: ~Liquid ~Solid ~Gas |
|  | ~Other: |
| *** List all chemical components in a | QUANTITY: ~Pint ~Quart ~Gallon ~5-Gallon |
| waste container (including water). Lists | ~Other: 4 liter |
| may be continued on the back of the tag. | CONTAINER TYPE: ~Glass ~Metal |
|  | ~Other: |
| *** Tags for containers of potentially | REACTS WITH: ~None ~Air ~Water |
| explosive materials such as picric acid, | ~Other: |
| silanes, nitro compounds, and ethers must | HAZARDS: ~Flammable ~Explosive ~Carcinogen |
| Indicate the percent concentration of these | ~Toxic ~Corrosive ~Other: |
| Chemicals |  |
|  | REMARKS: |
| Place any additional Hazard Information |  |
| About container contents in REMARKS. | Mail lower portion to tag to the Physical Plant Department when container is ready for pickup. |

IV.	EMERGENCY PROCEDURES

TAMIU Hazard Communication Program requires that TAMIU employees be informed of hazardous materials that they might use or be exposed to at work.  In addition, the program should include training on handling spills and other emergencies.  Material Safety Data Sheets are a source of this information and should be maintained for all chemicals used or stored within a workplace.  Special cleanup supplies should be available and employees should be trained on how to use these supplies.  The TAMIU Physical Plant Department can provide additional information on handling specific chemical spills.  Contaminated clothing, rags, absorbent materials, or other waste from cleanup of spills or leaks must be property disposed.  All labs should post emergency numbers to be used and develop a response scenario for emergencies.

Emergency telephone numbers of importance are listed below:

Campus Emergency Number 						2911

##### University Health Center 						2235

University Police Department 					2100

Poison Control Center (Scott & White, Temple) 			1-800-764-7661

APPENDIX A

DEFINITIONS

Central Accumulation Area - Site designated by the Physical Plant Department to be used for the storage of hazardous wastes prior to shipment to permitted disposal facilities.

Disposal - The discharge, deposit, injection, dumping, spilling, or placing of any solid waste or hazardous waste (whether containerized or non-containerized) into or on any land or water so that such solid waste or any constituent thereof may enter the environment or be emitted into the air or discharged into any water, including ground waters.

EPA Identification Number - The number assigned by the EPA to each generator, transporter, and processing, storage or disposal facility.

Facility - Includes all contiguous land, and structures, other appurtenances, and improvements on the land used for storing, processing, or disposing of municipal hazardous waste or industrial solid waste.

Generator – Any person, by site, who produces municipal hazardous waste or industrial solid waste; any person who possesses municipal hazardous waste or industrial solid waste to be shipped to any other person; or any person whose act first causes the solid waste to become subject to regulation.  Person refers to an individual, trust, firm, corporation, Federal Agency, State, political subdivision of a State, municipality, or any interstate body.

Hazardous Material - a substance or material, including a hazardous substance, which has been determined by the Secretary of Transportation to be capable of posing an unreasonable risk to health, safety, and property when transported in commerce, and which has been so designated.

Hazardous Waste - Any solid waste material listed or identified in Title 40 Code of Federal Regulations, Part 261, Subpart C and D or exhibiting the characteristics of ignitability, corrosivity, reactivity, or toxicity also defined in Part 261.  Tables containing the listing and characteristics of hazardous wastes are shown in Appendix B.

Manifest - A legal document containing required information, which must accompany shipments of Municipal Hazardous Waste or Class I-Industrial Solid Waste transported on public roads or thoroughfares.

Mixed Waste - A radioactive waste that is also a hazardous waste.

Permit - A written document issued by EPA or TNRCC that, by its conditions, authorizes the construction, installation, modification, or operation of a specified municipal hazardous waste or industrial solid waste storage, processing, or disposal facility in accordance with specified limitations.

Placard – Diamond-shaped color-coded signs placed on the outside of transporting vehicles indicating the hazards of the cargo.

Processing - The extraction of materials, transfer, volume reduction, conversion to energy, or other separation and preparation of solid waste for reuse or disposal, including the treatment or neutralization of hazardous waste, designed to change the physical, chemical, or biological character or composition of any hazardous waste so as to neutralize such waste, or as to recover energy or material from the waste or so as to render such waste non-hazardous or less hazardous; safer to transport, store, and dispose; or amenable for recovery, amenable for storage, or reduced in volume.

Recyclable Materials - Wastes that are recycled.  Recycled material is used, reused, or reclaimed.

Reclaimed material is processed or regenerated to recover a usable product.  Examples: Recovery of lead from spent batteries, or regeneration of spent solvent.

Satellite Accumulation Area - An area, system, or structure used for temporary accumulation of hazardous waste prior to transport to the central accumulation area.

Solid Waste - Any garbage, refuse, sludge from a waste treatment plant, water treatment plant, or air pollution control facility or other discarded material, including solid, liquid, semi-solid, or contained gaseous material resulting from industrial, municipal, commercial, mining and agricultural operations, and from community and institutional activities.

Storage - The holding of solid waste for a temporary period, at the end of which the waste is processed, disposed of, recycled, or stored elsewhere.

Texas Solid Waste Number - The number assigned by the TNRCC to each generator, transporter, and processing, storage, or disposal facility.

Transporter - Any person who conveys or transports municipal hazardous waste or industrial solid waste by truck, ship, pipeline or other means.

Universal Waste - any hazardous waste subject to 40CFRPart273 and TAC335.261 to include:

- Batteries including lead-acid that are not managed under 40CFR266,SubpartG;

- Recalled pesticides that are part of a voluntary or mandatory recall under FIFRA or pesticides managed as part of a waste pesticide program; and

- Mercury Thermostats that are not hazardous using 40CFR261,SubpartC.

Waste - Any material for which there is no use and is to be discarded as valueless.

APPENDIX B

IDENTIFICATION OF HAZARDOUS WASTE

40 CFR

261.21 Characteristic of Ignitability.

- A solid waste exhibits the characteristic of ignitability if a representative sample of the waste has any of the following properties:

- It is a liquid, other than an aqueous solution containing less than 24 percent alcohol by volume and has flash point less than 60C (I 40F), as determined by a Pensky-Martens Closed Cup Tester, using the test method specified in ASTM Standard D-93-79 or D-93-80 (incorporated by reference, see 40 CFR 260.1 1), or a Setaflash Closed Cup Tester, using the test method specified in ASTM Standard D-3278-78 (incorporated by reference, see 40 CFR 260.1 1), or as determined by an equivalent test method approved by the Administrator under procedures set forth in 40 CFR 260.20 and 40 CFR 260.21.

- It is not a liquid and is capable, under standard temperature and pressure, of causing fire through friction, absorption of moisture or spontaneous chemical changes and, when ignited, burns so vigorously and persistently that is creates a hazard.

- It is an ignitable compressed gas as defined in 49 CFR 173.300 and as determined by the test methods described in that regulation or equivalent test methods approved by the Administrator under 40 CFR 260.20 and 40 CFR 260.21.

- It is an oxidizer as defined in 49 CFR 173. 1 51

- A solid waste that exhibits the characteristic of ignitability has the EPA Hazardous Waste Number of DOO1.

261.22 Characteristic of Corrosivity.

- A solid waste exhibits the characteristic of corrosivity if a representative sample of the waste has either of the following properties:

- It is aqueous and has a pH less than or equal to 2 or greater than or equal to 12.5, as determined by a pH meter using Method 9040 in "Test Methods for Evaluating Solid Waste, Physical/Chemical Methods," EPA Publication SW-846, as incorporated by reference in 40 CFR 260.11.

- It is a liquid and corrodes steel (SAE 1020) at a rate greater than 6.35 mm (0.250 inch) per year at a test temperature of 55C (130F) as determined by the test method specified in NACE (National Association of Corrosion Engineers) Standard TM-01-69 as standardized in "Test Methods for Evaluating Solid Waste, Physical/Chemical Methods," EPA Publication SW-846, as incorporated by reference in 40 CFR 260.11.

- A solid waste that exhibits the characteristic of corrosivity has the EPA Hazardous Waste Number of D002.

261.23 Characteristic of Reactivity.

- A solid waste exhibits the characteristic of reactivity if a representative sample of the waste has any of the following properties:

- It is normally unstable and readily undergoes violent change without detonating.

- It reacts violently with water.

- It forms potentially explosive mixtures with water.

- When mixed with water, it generates toxic gases, vapors or fumes in a quantity sufficient to present a danger to human health or the environment.

- It is a cyanide or sulfide bearing waste which, when exposed to pH conditions between 2 and 12.5, can generate toxic gases, vapors or fumes in a quantity sufficient to present a danger to human health or the environment.

- It is capable of detonation or explosive reaction if it is subjected to a strong initiating source or if heated under confinement.

- It is readily capable of detonation or explosive decomposition or reaction at standard temperature and pressure.

- It is a forbidden explosive as defined in 49 CFR 173.5 1, or a Class A explosive as defined in 49 CFR 173.53 or a Class B explosive as defined in 49 CFR 173.88.

- A solid waste that exhibits the characteristic of reactivity has the EPA Hazardous Waste Number of D003.

261.24 Toxicity Characteristic.

- A solid waste exhibits the characteristic of toxicity if the extract from a representative sample of the waste contains any of the contaminants listed in Table I at a concentration equal to or greater than the respective value given in that Table. Where the waste contains less than 0.5 percent filterable solids, the waste itself is considered to be the extract for the purpose of this section.

- A solid waste that exhibits the characteristic of toxicity has the EPA Hazardous Waste Number specified in Table I which corresponds to the toxic contaminant causing it to be hazardous.

Table I - Maximum Concentration of Contaminants for the Toxicity Characteristic

| EPA HW # | Contaminant | CAS # | Regulatory Level (mg/l) |  | EPA HW # | Contaminant | CAS # | Regulatory Level (mg/l) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| D004 | Arsenic | 7440-38-2 | 5.0 |  | D032 | Hexachlorobenzene | 118-74-1 | 3 0.13 |
| D005 | Barium | 7440-39-3 | 100.0 |  | D033 | Hexachlorobutadiene | 87-68-3 | 0.5 |
| D018 | Benzene | 71-43-2 | 0.5 |  | D034 | Hexachlororthane | 67-72-1 | 3.0 |
| D006 | Cadnium | 7440-43-9 | 1.0 |  | D008 | Lead | 7439-9-1 | 5.0 |
| D019 | Carbon Tetrachloride | 56-23-5 | 0.5 |  | D013 | Lindane | 58-89-9 | 0.4 |
| D020 | Chlordane | 57-74-9 | 0.03 |  | D009 | Mercury | 7439-97-6 | 0.2 |
| D021 | Chlorobenzene | 108-90-7 | 100.0 |  | D014 | Methoxychlor | 72-43-5 | 10.0 |
| D022 | Chloroform | 67-66-3 | 6.0 |  | D035 | Methyl ethyl ketone | 78-93-3 | 200.0 |
| D007 | Chromium | 7440-47-3 | 5.0 |  | D036 | Nitrobenzene | 98-95-3 | 2.0 |
| D023 | o-Cresol | 95-78-7 | 4 200.0 |  | D037 | Pentachlorophenol | 87-86-5 | 100.0 |
| D024 | m-Cresol | 108-39-4 | 4 200.0 |  | D038 | Pyridine | 110-86-1 | 3 5.0 |
| D025 | p-Cresol | 106-44-5 | 4 200.0 |  | D010 | Selenium | 7782-49-2 | 1.0 |
| D026 | Cresol | ------------ | 4 200.0 |  | D011 | Silver | 7440-22-4 | 5.0 |
| D016 | 2,4-D | 94-75-7 | 10.0 |  | D039 | Tetrachloroethylene | 127-18-4 | 0.7 |
| D027 | 1,4-Dichlorobenzene | 106-46-7 | 7.5 |  | D015 | Toxaphene | 8001-35-2 | 0.5 |
| D028 | 1,2-Dichloroethane | 107-06-2 | 0.5 |  | D040 | Trichloroethylene | 79-01-6 | 0.5 |
| D029 | 1,1-Dichloroethylene | 75-35-4 | 0.7 |  | D041 | 2,4,5-Trichlorophenol | 95-95-4 | 400.0 |
| D030 | 2,4-Dinitrotoluene | 121-14-2 | 3 0.13 |  | D042 | 2,4,6-Trichlorophenol | 88-06-2 | 2.0 |
| D012 | Endrin | 72-20-8 | 0.02 |  | D017 | 2,4,5-TP (Silvex) | 93-72-1 | 1.0 |
| D031 | Heptachlor (& its epoxide) | 76-44-8 | 0.008 |  | D043 | D043 Vinyl Chloride | 75-01-4 | 0.2 |

1 	Hazardous waste number.

2 	Chemical abstracts service number.

3 	Quantitation limit is greater than the calculated regulatory level. The quantitation limit therefore becomes the regulatory level.

4 	If o-, m-, and p-Cresol concentrations cannot be differentiated, the total cresol (DO26) concentration is used.  The regulatory level of total cresol is 200 mg/I.

261.33 Discarded commercial chemical products, off-specification species,

container residues, and spill residues thereof.

The following materials or items are hazardous wastes if and when they are discarded or intended to be discarded as described in 40 CFR 261.2 A (2)(i), when they are mixed with waste oil or used oil or other material and applied to the land for dust suppression or road treatment, when they are otherwise applied to the land in lieu of their original intended use or when they are contained in products that are applied to the land in lieu of their original intended use, they are produced for use as (or as a component of) a fuel, distributed for use as a fuel, or burned as a fuel.

- Any commercial chemical product or manufacturing chemical intermediate having the generic name listed in paragraph E or F of this section.

- Any off-specification commercial chemical or manufacturing chemical intermediate which, if it met specifications, would have the generic name listed in paragraph E or F of this section.

- Any residue remaining in a container or in an inner liner removed from a container that has held any commercial chemical product or manufacturing chemical intermediate having the generic name listed in paragraphs E or F of this section, unless the container is empty as defined in 40 CFR 261.7(b)

[Comment: Unless the residue is being beneficially used or reused, or legitimately recycled or reclaimed,- or being accumulated, stored, transported or treated prior to such use, re-use, recycling or reclamation, EPA considers the residue to be intended for discard, and thus a hazardous waste. An example of a legitimate re-use of the residue would be where the residue remains in the container and the container is used to hold the same commercial chemical product or manufacturing chemical intermediate it previously held. An example of the discard of the residue would be where the drum is sent to a drum reconditioner who reconditions the drum but discards the residue.]

- Any residue or contaminated soil, water or other debris resulting from the cleanup of a spill into or on any land or water of any commercial chemical product or manufacturing chemical intermediate having the generic name listed in paragraph E or F of this section, or any residue or contaminated soil, water or other debris resulting from the cleanup off a spill, into on any land or water, of any off-specification commercial chemical product or manufacturing chemical intermediate having the generic name listed in paragraph E or F of this section.

[Comment: The phrase "commercial chemical product or manufacturing chemical intermediate having the generic name listed in... " refers to a chemical substance which is manufactured or formulated for commercial or manufacturing use which consists of the commercially pure grade of the chemical, any technical grades of the chemical that are produced or marketed, and all formulations in which the chemical is the sole active ingredient. It does not refer to a material, such as a manufacturing process waste, that containers any of the substances listed in paragraph E or F. Where a manufacturing process waste is deemed to be a hazardous waste because it containers a substance listed in paragraph E or F, such waste will be listed in either 40 CFR 261.31 or 40 CFR 261.32 or will be identified as a hazardous waste by the characteristics set forth in Subpart C of this part]

- The commercial chemical products, manufacturing chemical intermediate off-specification commercial chemical product or manufacturing chemical intermediates referred to in paragraphs A through D of this section, are identified as acute hazardous wastes (H) and are subject to be the small quantity exclusion defined in 40 CFR 261.5(e).

[Comment: For the convenience of the regulated community the primary hazardous properties of these materials have been indicated by the letters T (Toxicity), and R (Reactivity).  Absence of a letter indicates that the compound only is listed for acute toxicity]

| HW # | CAS # | SUBSTANCE |
| --- | --- | --- |
| P023 | 107-20-0 | Acetaldehyde, chloro |
| P002 | 591-08-2 | Acetamide N-(aminothioxomethyl)- |
| P057 | 640-19-7 | Acetamide, 2-fluoro |
| P058 | 62-74-8 | Acetic acid, fluoro-, sodium salt |
| P002 | 591-08-2 | 1-Acetyl-2-thiourea |
| P003 | 107-02-8 | Acrolein |
| P070 | 116-06-3 | Aldicarb |
| P203 | 1646-88-4 | Aldicarb sulfone |
| P004 | 309-00-2 | Aldrin |
| P005 | 107-18-6 | Allyl Acohol |
| P006 | 20859-73-8 | Alumiunum phosphide (R,T) |
| P007 | 2763-96-4 | 5-(aminomethyl)-3isozazolol |
| P008 | 504-24-5 | 4-Aminopyridine |
| P009 | 131-74-8 | Ammonium picrate (R) |
| P119 | 7803-55-6 | Ammomium Vanadate |
| P099 | 506-61-6 | Argentate (1-), bis(cyano-C)-, potassium |
| P010 | 7778-39-4 | Arsenic Acid H3Aso4 |
| P012 | 1327-53-3 | Arsenic oxide As2O3 |
| P011 | 1303-28-2 | Arsenic Oxide As2O5 |
| P011 | 1303-28-2 | Arsenic pentoxide |
| P012 | 1327-53-3 | Arsenic trioxide |
| P038 | 692-42-2 | Arsine, diethyl- |
| P036 | 696-28-6 | Arsonous dichloride phenyl |
| P054 | 151-56-4 | Azinidine |
| P067 | 75-55-8 | Aziridine, 2-methyl |
| P013 | 542-62-1 | Barium cyanide |
| P024 | 106-47-8 | Benzenamine, 4-chloro |
| P077 | 100-01-6 | Benzenamine, 4-nitro |
| P028 | 100-44-7 | Benzene, (chloromethyl)- |
| P042 | 54-43-4 | 1,2-Benzenediol, 4-[1-hydroxy-2-(methylamino)ethyl]-, (R) |
| P046 | 122-09-8 | Benzeneethanamine, alpha, alpha-dimethyl- |
| P014 | 108-98-5 | Bensenethiol |
| P127 | 1563-66-2 | 7-Benzofuranol, 2,3-dihydro-2,2-dinethyl-, methylcarbamate |
| P188 | 57-64-7 | Benzonic acid, 2-hydroxy-, compd. With (3aS-cis)-1,2,3,3a,8,8a-hexahydro-1,3a,8-trimethylpyrrolo[2,3,a-b]indol –5-yl methylcarbamate ester (1:1). |
| P001 | 181-81-2 | 2H-1 Benzopyran-2-one,4-hydroxy –3-(3-oxo-1-phenylbutyl)-& salts when present at concentrations greater than 0.3%. |
| P028 | 100-44-7 | Benzyl chloride |
| P015 | 7440-41-7 | Beryllium power |
| P017 | 598-31-2 | Bromoacetone |
| P018 | 35-57-3 | Brucine |
| P045 | 39196-18-4 | 2-Butanoe, 3,3-dimethyl-1-(methylthio) -O-[methylamino)carbonyl] oxime |
| P021 | 592-01-8 | Calcium cyanide |
| P021 | 591-01-8 | Calcium cyanide Ca(CN)2 |
| P189 | 55285-14-8 | Carbamic acid, [(dibutylamip)-thio] methyl-, 2,3-dihydro-2,2-dimethyl-7-benzofuranyl ester. |
| P191 | 644-64-4 | Carbamic acid, dimethyl-,1-[(dimethyl-amino)carbonyl]-5-methyl-1H-pyrazol 3-yl ester. |
| P192 | 119-38-0 | Carbamic acid, dimethyl-3-methyl-1-(1-methylethyl)-1H-pyrazol-5-yl ester |
| P190 | 1129-41-5 | Carbmic acid, methyl-,3-methylphenyl ester |
| P127 | 1563-66-2 | Carbofuran |
| P022 | 75-15-0 | Carbon disulfide |
| P095 | 75-44-5 | Carbonic dichloride |
| P189 | 55285-14-8 | Carbosulfan |
| P023 | 107-20-0 | Chloroacetaldehyde |
| P024 | 106-47-8 | p-Chloroaniline |
| P026 | 5344-82-1 | 1-(o-Chlorophenyk)thiourea |
| P027 | 542-76-7 | 3-Chloropropionitrile |
| P029 | 544-92-3 | Copper cyanide |
| P029 | 544-92-3 | Copper cyanide Cu(CN) |
| P202 | 64-00-6 | m-Cumenyl methylcarbamae |
| P030 | ----------- | Cyanides (soluble cyanide salts), Not otherwise specified |
| P031 | 460-19-5 | Cyanogen |
| P033 | 506-77-4 | Cyanogen chloride |
| P033 | 506-77-4 | Cyanogen chloride (CN)Cl |
| P034 | 131-89-5 | 2-Cyclohexyl-4,6-dinitrophenol |
| P016 | 542-88-1 | Dichloromethyl ether |
| P036 | 696-28-6 | Diclorophenylarsine |
| P041 | 311-45-5 | Diethyl-p-nitrophenyl phosphate |
| P040 | 297-97-2 | O,O-Diethyl O-pyrazinyl phosphorothioate |
| P043 | 55-91-4 | Diisoprophylfluorophosphate (DFP) |
| P004 | 309-00-2 | 1,4,5,8-Dimethanonaphthalene, 1,2,3,4,10,10-hexa-choro-1,4,4a,5,8,8a-hexa-hydro-, (1alpha,4alpha,4abeta, 5alpha,8alpha,8abeta)- |
| P006 | 465-73-6 | 1,4,5,8-Dimethanonaphthalene, 1,2,3,4,10,10-hexa-chloro-1,4,4a,5,8,8a-hexa-hydro-, (1alpha,4alpha,4abeta, 5beta, 8beta,8abeta)- |
| P037 | 60-57-1 | 2,7:3,6-Dimethanonaphth[2,3-b]oxirene 3,4,5,6,9,9-hexachloro-1a,2,2a,3,6,6a,7,7a-octahydro-,(1aalpha, 2beta, 2alpha,3beta,6beta,6aalpha,7beta, 7aalpha)- |
| P051 | 171-20-8 | 2,7:3,6-Dimethanonaphth[2,3-b]oxirene 3,4,5,6,9,9-hexachloro-1a,2,2a,3,6,6a,7,7a-octahydro-,(1aalpha, 2beta,2abeta,3alpha,6alpha,6abeta,7beta, 7aalpha)-& metabolites |
| P044 | 60-51-5 | Dimethiate |
| P046 | 122-09-8 | Alpha, alpha-Dimethylphenethylamine |
| P191 | 644-64-4 | Dimetilan |
| P047 | 1534-52-1 | 4,6-Dinitro-o-cresol,and salts |
| P048 | 51-28-5 | 2,4-Dinitrophenol |
| P020 | 88-85-7 | Dinoseb |
| P085 | 152-16-9 | Diphosporamide, octamethyl- |
| P111 | 107-49-3 | Diposphoric acid, tetraethyl ester |
| P039 | 298-04-4 | Disulfoton |
| P049 | 541-53-7 | Dithiobiuret |
| P185 | 26419-73-8 | Dithiolane-2-carboxaldehyde,2,4-dimethyl-,)-[(methylamino)-carbonyl]oxime |
| P050 | 115-29-7 | Endosulfan |
| P088 | 145-73-3 | Endothall |
| P051 | 72-20-8 | Endrin |
| P051 | 72-20-8 | Endrin, & metabolites |
| P042 | 51-43-4 | Epinephrine |
| P031 | 460-19-5 | Ethanedinitrile |
| P194 | 23135-22-0 | Ehanimidothioc acid,2-(dimethylamino)-N-[[methylamino) carbonyl]oxy]-2-oxo-methyl ester. |
| P066 | 16752-77-5 | Ethanimidothioc acid,N-[[(methhyl-amino)carbonyl]oxy]-,methyl ester. |
| P101 | 107-12-0 | Ethyl cyanide |
| P054 | 151-56-4 | Ethyleneimine |
| P097 | 52-85-7 | Famphur |
| P056 | 7782-41-4 | Fluorine |
| P057 | 640-19-7 | Fluoroacetamide |
| P058 | 62-74-8 | Fluoroacetic acid, sodium salt |
| P198 | 23422-53-9 | Formetanate hydrochloride |
| P!97 | 17702-57-7 | Formparanate |
| P065 | 628-86-4 | Fulmic acid, mercury(2=)salt(R,T) |
| P059 | 76-44-8 | Heptachlor |
| P062 | 757-58-4 | Hexaethyl tetraphosphate |
| P116 | 79-19-6 | Hydrazinecarbothioamide |
| P068 | 80-34-4 | Hydrazine,methyl- |
| P063 | 74-90-8 | Hydrocyanic acid |
| P063 | 74-90-8 | Hydrogen cyanide |
| P096 | 7803-51-2 | Hydroge phosphide |
| P060 | 465-73-6 | Isodrin |
| P192 | 119-38-0 | Isolan |
| P202 | 64-00-6 | 3-Isoprppylphenyl N-methylcarbamate |
| P007 | 2763-96-4 | 3(2H)-Isoxazolone, 5-(aminomethyl)- |
| P196 | 15339-36-3 | Manganese, bis(dimethylcarbamodi-thioato-S,S’)- |
| P196 | A539-36-3 | Manganese dimethyldithiocarbamate |
| P092 | 62-38-4 | Mercury, (acetato-O)phenyl |
| P065 | 624-86-4 | Mercury fulminate(R,T) |
| P082 | 62-83-9 | Methamine, N-methyl-N-nitroso- |
| P064 | 624-83-9 | Methane, isocyanato- |
| P016 | 542-88-1 | Methane, oxybis[chloro- |
| P112 | 509-14-8 | Methane, tetranitro- (R) |
| P118 | 75-70-7 | Methanethiol, trichloro- |
| P198 | 23422-53-9 | Methanimidamide, N,N-dimethyl-N’- [3-[[(methyllamino)-carbonyl]oxy]phenyl]-, monohydrochloride. |
| P197 | 17702-57-7 | Methanimidedamide, N,N-dimethyl-N’-[2methyl-4-[[methylamino)carbonyl]oxy]phenyl]- |
| P050 | 115-29-7 | 6,9-Methano-2,4,3,-benzodioxathiepin, 6,7,8,9,10,10-hexachloro-1,5,5a,6,9,9a-hexahydro-,3-oxide |
| P059 | 76-44-8 | 4,7-Methano-1H-inden,1,4,5,6,7,8,8-heptachloro-3a,4,7,7a-tetrahydro |
| P199 | 2032-65-7 | Methiocarb |
| P066 | 16752-77-5 | Methomyl |
| P068 | 60-34-4 | Methyl hydrazine |
| P064 | 624-83-9 | 2-Methyllactonitrile |
| P071 | 298-00-0 | Methyl parathion |
| P190 | 1129-41-5 | Metholcarb |
| P128 | 315-8-4 | Mexacarbate |
| P072 | 86-88-4 | Alpha-Naphthylthiourea |
| P073 | 13463-39-3 | Nickel carbonyl |
| P073 | 13463-9-3 | Nickel carbonyl Ni(CO)4, (T-4)- |
| P074 | 557-19-7 | Nickel cyanide |
| P074 | 557-19-7 | Nickel cyanide Ni(CN)2 |
| P075 | 154-11-5 | Nicotine and salts |
| P076 | 10102-44-0 | Nitric oxide |
| P077 | 100-01-6 | p-Nitroaniline |
| P078 | 10102-44-0 | Nitrogen dioxide |
| P076 | 10102-43-9 | Nitrogen oxide |
| P081 | 55-63-0 | Nitroglycerine (R) |
| P082 | 62-75-9 | N-Nitrosodimethylamine |
| P084 | 4549-40-0 | N-Nitrosomethylvinylamine |
| P085 | 152-16-9 | Octamethylpyrophosphoramide |
| P087 | 20816-12-0 | Osmium oxide |
| P087 | 20816-12-0 | Osmium tetroxide |
| P088 | 145-73-3 | Oxabicyclo[2.2.1]heptane-2,3-dicarbixilic acid |
| P194 | 23135-22-0 | Oxamyl |
| P089 | 56-38-2 | Parathion |
| P034 | 131-89-5 | Phenol,2-cyclohexyl-4,6-dinitro- |
| P048 | 51-28-5 | Phenol, 2,4-dinitro |
| P047 | 1534-52-1 | Phenol 2-methyl-4-6-dinitro- & salts |
| P020 | 88-85-7 | Phenol,2-(1methylprophyl)-4,6-dinitro |
| P009 | 131-74-8 | Phenol, 2,4,6-tinitro-,ammonium salt ( |
| P128 | 315-18-4 | Phenol 4-(dimethylamino)-3,5-dimethyl mthylcarbamate (ester). |
| P199 | 2032-65-7 | Phenol,(3,5-dimethyl-4-(methylthio)-, methylcarbamate |
| P202 | 64-00-6 | Phenol, 3-(1-methylethyl)-,methyl carbamte |
| P201 | 2631-37-0 | Phenol, 3-methyl-5-(1-methylethyl)-, methyl carbamate. |
| P092 | 62-38-4 | Phenylmercury acetate |
| P093 | 103-85-5 | Phenylthiourea |
| P094 | 298-02-0 | Phorate |
| P095 | 75-44-5 | Phosgene |
| P096 | 7803-51-2 | Phosphine |
| P041 | 311-45-5 | Phosphoric acid, diethyl 4-nitrophenyl ester |
| P039 | 298-04-4 | Phosphorodithioic acid, O,O-diethyl S-[2-(ethylthio)methyl]ester |
| P094 | 298-02-2 | Phosphorodithioic acid, O,O-diethyl S-[(ethylthio)methyl]ester |
| P044 | 60-51-5 | Phosphorodithioic acid, O,O-dimethylS-[2-(methylamino)-2oxoethyl]ester |
| P043 | 55-91-4 | Phosphorofluoridic acid, bis(1-methyl-ethyl)ester |
| P089 | 56-38-2 | Phosphorothioic acid, O,O-diethyl O-(4-nitrophenyl)ester |
| P040 | 297-97-2 | Phosphorothioic acid, O,O-diethylO-pyrazinyl ester |
| P097 | 52-85-7 | Phosphoriothioic acid, O-4[(dimethly-amino)sulfonyl]phenyl] O,O-dimethyl ester |
| P071 | 298-00-0 | Phophorothioic acid, O,O-dimethyl O-(4-nitrophenyl)ester |
| P204 | 57-47-6 | Physostigmine |
| P188 | 57-64-7 | Physostigmine salicylate. |
| P110 | 78-00-2 | Plumbane,tetraethyl- |
| P098 | 151-50-8 | Potassium cyanide |
| P098 | 151-50-8 | Potasium cyanide K(CN) |
| P099 | 506-61-6 | Potassium silver cyanide |
| P201 | 2631-37-0 | Promecarb |
| P070 | 116-06-3 | Propanal, 2-methyl-2-(methylthio)-O-[(methylamino)carbonyl]oxime |
| P023 | 1646-88-4 | Propanal,-methyl-2(methyl-sulfonyl)-O-[(methylamio)carbonyl]oxime. |
| P101 | 107-12-0 | Propanenitrile |
| P027 | 542-76-7 | Propanenile, 3-chloro- |
| P069 | 75-86-5 | Propanenile, 2-ydroxy-2-methyl- |
| P081 | 55-63-0 | 1,2,3-Propanetriol, trinitrate (R) |
| P017 | 598-31-2 | 2-Propanone, 1-bromo- |
| P102 | 107-19-7 | Propargyl alcohol |
| P003 | 107-02-8 | 2-Propenal |
| P005 | 107-18-6 | 2-Propen-1-o1 |
| P067 | 75-55-8 | 1,2-Propylenimine |
| P102 | 107-19-7 | 2-Propyn-1-o1 |
| P008 | 504-24-5 | 4-Pyridinamine |
| P075 | 154-11-5 | Pyridine, 3-(1-methyl-2-yrrolidinyl)-,(S)-, & salts |
| P204 | 57-47-6 | Pyrrolo[2,3-b]indol-5-o1,1,2,3,3a,8,8a-hexahydro-1,3a,8-trimethyl-methyl-carbamate (ester, (3aS-cis)- |
| P114 | 12039-52-0 | Seleniuos acid, dithallium (1+) salt |
| P103 | 630-10-4 | Selenourea |
| P104 | 506-64-9 | Silver cyanide |
| P104 | 506-64-9 | Silver cyanide Ag(CN) |
| P105 | 26628-22-8 | Sodium azide |
| P106 | 143-33-9 | Sodium cyanide |
| P106 | 143-33-9 | Sodium cyanide Na(CN) |
| P108 | 157-24-9 | Strychnidin-10one, & salts |
| P018 | 357-57-3 | Strychnidin-10-one,2,3-dimethoxy- |
| P108 | 157-24-9 | Strychnine, & salts |
| P115 | 7446-18-6 | Sulfuric acid, dithallium(1+) salt |
| P109 | 3689-24-5 | Tetraethyldithiopyrophosphate |
| P110 | 78-00-2 | Tetraethyl lead |
| P111 | 107-49-3 | Tetraethyl pyrophosphate |
| P112 | 509-14-8 | Tetranitromethane (R) |
| P062 | 757-58-4 | Tetraphosphoric acid, hexaethyl ester |
| P113 | 1314-32-5 | Thallic oxide |
| P113 | 1314-32-5 | Thallium oxide Tl2O3 |
| P114 | 12039-52-0 | Thallium(I) selenite |
| P115 | 746-18-6 | Thallium(I) sulfate |
| P109 | 36196-18-4 | Thiodiphosphoric acid, tetraethyl ester |
| P045 | 39196-4 | Thiofanox |
| P049 | 541-53-7 | Thiomidodicarbonic diamide [(H2N)C(S)]2NH |
| P014 | 108-98-5 | Thiophenol |
| P116 | 79-19-6 | Thiosemicarbazide |
| P026 | 5344-82-1 | Thiourea, (2-chlorophenyl)- |
| P072 | 86-8-4 | Thiorea, 1-naphthalenyl- |
| P093 | 103-85-5 | Thiorea, phenyl- |
| P185 | 26419-73-8 | Tirpate |
| P123 | 8001-35-2 | Toxaphene |
| P118 | 75-70-7 | Trichoromethanethiol |
| P119 | 7803-55-6 | Vanadic acid, ammonium salt |
| P120 | 1314-62-1 | Vanadium oxide V2O5 |
| P120 | 1314-62-1 | Vanadium pentoxide |
| P084 | 45-49-40-0 | Vinylamine, N-methyl-N-nitroso |
| P001 | 181-81-2 | Warfarin, & salts, when present at concentrations greater than 0.3% |
| P205 | 137-30-4 | Zinc, bis(Dimethylcarbamodithioato-S, S’)-, |
| P121 | 557-21-1 | Zinc cyanide |
| P121 | 57-21-1 | Zinc cyanide Zn(CN)2 |
| P122 | 1314-84-7 | Zinc Phosphide Zn3P2, when present atconcentrations greater than 10% (R,T) |
| P205 | 137-30-4 | Ziram |

- The commercial chemical products, manufacturing chemical intermediates, or off-specification commercial chemical products referred to in paragraphs A through D of this section, are identified as toxic wastes (T), unless otherwise designated and are subject to the small quantity generator exclusion defined in 40 CFR 261.5 A and G.

[Comment: For the convenience of the regulated community, the primary hazardous properties of these materials have been indicated by the letters T (Toxicity), R (Reactivity), I (Ignitability) and C (Corrosivity). Absence of a letter indicates that the compound is only listed for toxicity.]

These wastes and their corresponding EPA Hazardous Waste Numbers are:

| HW # | CAS # | SUBSTANCE |
| --- | --- | --- |
| U394 | 30558-43-1 | A2213 |
| U001 | 75-07-0 | Acetaldehyde (I) |
| U034 | 75-87-6 | Acetaldehyde, trichloro- |
| U187 | 62-44-2 | Acetamide, N-(4-ethoxyphenyl)- |
| U005 | 53-96-3 | Acetamide, N-9H-fluoren-2-yl- |
| U240 | 1 94-75-7 | Acetic acid, (2,4 –dichlorophenoxy), salts & esters |
| U112 | 141-78-6 | Acetic acid, ethyl ester (I) |
| U144 | 301-04-2 | Acetic acid, lead(2+) salt |
| U214 | 563-68-8 | Acetic acid, thallium(1+) salt |
| See F027 | 93-76-5 | Acetic acid, (2,4,5-trichlorophenoxy)- |
| U002 | 67-64-1 | Acetone (I) |
| U003 | 75-05-8 | Acetonitrile (I,T) |
| U004 | 98-86-2 | Acetophenone |
| U005 | 53-96-3 | 2-Acetylaminofluorene |
| U006 | 75-36-5 | Acetyl chloride (C,R,T) |
| U007 | 79-06-1 | Acrylamide |
| U008 | 79-10-7 | Acrylic acid (I) |
| U009 | 107-13-1 | Acrylonitrile |
| U011 | 61-82-5 | Amitrole |
| U012 | 62-53-3 | Aniline (I,T) |
| U136 | 75-60-5 | Arsinic acid, dimethyl- |
| U014 | 492-80-8 | Auramine |
| U015 | 115-02-6 | Azaserine |
| U010 | 50-07-7 | Azirino[2’,3’<3,4]pyrrolo[1,2-a]indole-4,7-dione, 6-amino-8-[(aminocarbonyl)oxy]methyl]-1,1a,2,8,8a,8b-hexahydro-8a-methoxy-5-methyl-, [1aS-1aalpha, 8beta, 8aalpha, 8balpha)]- |
| U280 | 101-27-9 | Barban |
| U278 | 22781-23-3 | Bendiocarb |
| U364 | 22961-82-6 | Bendiocarb phenol |
| U271 | 17804-35-2 | Benomyl |
| U157 | 56-49-5 | Benz[j]aceanthrylene, 1,2-dihydro-3-methyl |
| U016 | 225-51-4 | Benz[c]acridine |
| U017 | 98-87-3 | Benzal chloride |
| U192 | 23950-58-5 | Benzamide, 3,5-dichloro-N-(1,1-dimethyl-2-propynyl)- |
| U018 | 56-55-3 | Benz[a]anthracene |
| U094 | 57-97-6 | Benz[a]anthracene, 7,12-dimethyl- |
| U012 | 62-53-3 | Benzenamine (I,T) |
| U014 | 492-80-8 | Benzenamine, 4,4’-carbonimidoylbis[N,N-dimethyl- |
| U049 | 3165-93-3 | Benzenamine, 4-chloro-2-methyl-, hydrochloride |
| U093 | 60-11-7 | Benzenamine, N,N-dimethyl-4-(phenylazo)- |
| U328 | 95-53-4 | Benzenamine, 2-methyl- |
| U353 | 106-49-0 | Benzenamine, 4-methyl- |
| U158 | 101-15-5 | Benzenamine, 4,4’-methylenebis[2-chloro- |
| U222 | 636-21-5 | Benzenamine, 2-methyl-, hydrochloride |
| U181 | 99-55-8 | Benzenamine, 2-methyl-5-nitro |
| U019 | 71-43-2 | Benzene (I,T) |
| U038 | 510-15-6 | Benzeneacetic acid, 4-chloro-alpha-(4-chlorphenyl)-alpha-hydroxy-,ethyl ester |
| U030 | 101-55-3 | Benzene, 1-bromo-4-phenoxy- |
| U035 | 305-03-3 | Benzenebutanoic acid, 4-[bis(2-chloroethyl)amino]- |
| U037 | 108-90-7 | Benzene, chloro- |
| U221 | 25376-45-8 | Benzenediamine, ar-methyl |
| U028 | 117-81-7 | 1,2-Benzenedicarboxylic acid, bis(2-ethylhexyl) ester |
| U069 | 84-74-2 | 1,2-Benzenedicarboxylic acid, dibutyl ester |
| U088 | 84-66-2 | 1,2-Benzenedicarboxylic acid, diethyl ester |
| U102 | 131-11-3 | 1,2-Benzenedicarboxylic acid, dimethyl ester |
| U107 | 117-84-0 | 1,2-Benzenedicarboxylic acid, dioctyl ester |
| U070 | 95-50-1 | Benzene, 1,2-dichloro- |
| U071 | 541-73-1 | Benzene, 1,3-dichloro- |
| U072 | 106-46-7 | Benzene, 1,4-dichloro- |
| U060 | 72-54-8 | Benzene, 1,1’-(2,2-dichloroethylidene) bis[4-chloro- |
| U017 | 98-87-3 | Benzene, (dichloromethyl)- |
| U223 | 26471-62-5 | Benzene, 1,3-diisocyanatomethyl-(R,T) |
| U239 | 1330-20-7 | Benzene, dimethyl- (I,T) |
| U201 | 108-46-3 | 1,3-Benzenediol |
| U127 | 118-74-1 | Benzene, hexachloro- |
| U056 | 110-82-7 | Benzene, hexahydro- (I) |
| U220 | 108-88-3 | Benzene, methyl- |
| U105 | 121-14-2 | Benzene, 1-methyl-2,4-dinitro- |
| U106 | 606-20-2 | Benzene, 2-methyl-1,3-dinitro- |
| U055 | 98-82-8 | Benzene, (1-methylethyl)- (I) |
| U169 | 98-95-3 | Benzene, nitro- |
| U183 | 608-93-5 | Benzene, pentachloro- |
| U185 | 82-68-8 | Benzene, pentachloronitro- |
| U020 | 98-09-9 | Benzenesulfonic acid chloride (C,R) |
| U020 | 98-09-9 | Benzenesulfonyl chloride (C,R) |
| U207 | 95-94-3 | Benzene, 1,2,4,5-tetrachloro- |
| U061 | 50-29-3 | Benzene, 1,1’-(2,2,2-trichloroethylidene) bis[4-chloro- |
| U247 | 72-43-5 | Benzene, 1,1’-(2,2,2-trichloroethylidene) bis[4-methoxy- |
| U023 | 98-07-7 | Benzene, (trichloromethyl)- |
| U234 | 99-35-4 | Benzene, 1,3,5-trinitro- |
| U021 | 92-87-5 | Benzidine |
| U202 | 181-07-2 | 1,2-Benzisothiazol-3(2H)-one, 1,1-dioxide, and salts |
| U278 | 22781-23-3 | 1,3-Benziodioxol-4-ol, 2,2-dimethyl-, methyl carbamate. |
| U364 | 22961-82-6 | 1,3-Benzodioxol-4-ol, 2,2-dimethyl-, |
| U203 | 94-57-7 | 1,3-Benzodioxole, 5-(2-propenyl)- |
| U141 | 120-58-1 | 1,3-Benzodioxole, 5-(1-propenyl)- |
| U367 | 1563-38-8 | 7-Benzofuranol, 2,3-dihydro-2,2-dimethyl- |
| U090 | 94-58-6 | 1,3-Benzodioxole, 5-propyl- |
| U064 | 189-55-9 | Benzo[rst]pentaphene |
| U248 | 181-81-2 | 2H-1-Benzopyran-2-one, 4-hydroxy-3-(3-oxo-1-phenyl-butyl)-, & salts, when present at concentrations of 0.3% or less |
| U022 | 50-32-8 | Benzo[a]pyrene |
| U197 | 106-51-4 | p-Benzoquinone |
| U023 | 98-07-7 | Benzotrichloride (C,R,T) |
| U085 | 1464-53-5 | 2,2’-Bioxirane |
| U021 | 92-87-5 | [1,1’-Biphenyl]-4,4’-diamine |
| U073 | 91-94-1 | [1,1’-Biphenyl]-4,4’-diamine, 3,3’-dichloro- |
| U091 | 119-90-4 | [1,1’-Biphenyl]-4,4’-diamine, 3,3’-dimethoxy- |
| U095 | 119-93-7 | [1,1’-Biphenyl]-4,4’-diamine, 3,3’-dimethyl- |
| U225 | 75-25-2 | Bromoform |
| U030 | 101-55-3 | 4-Bromophenyl phenyl ether |
| U128 | 87-68-3 | 1,3-Butadiene, 1,1,2,3,4,4-hexachloro- |
| U172 | 924-16-3 | 1-Butananime, n-butyl-N-nitroso- |
| U031 | 71-36-3 | 1-Butanol (I) |
| U159 | 78-93-3 | 2-Butanone (I,T) |
| U160 | 1338-23-4 | 2-Butanone, peroxide (R,T) |
| U053 | 4170-30-3 | 2-Butenal |
| U074 | 764-41-0 | 2-Butene, 1,4-dichloro- (I,T) |
| U143 | 303-34-4 | 2-Butenoic acid, 2-methyl-, 7-[[2,3-dihydroxy-2-(1-methoxyethyl)-3-methyl-1-oxobutoxy]methyl]-2,3,5,7a-tetrahdro-1H-pyrrolizin-1-yl ester, [1S-[1alpha(Z), 7(2S*,3R*), 7aalpha]]- |
| U031 | 71-36-3 | n-Butyl alcohol (I) |
| U136 | 75-60-5 | Cacodylic acid |
| U032 | 13765-19-0 | Calcium Chromate |
| U372 | 10605-21-7 | Carbamic acid, 1-H-benzimidazol-2yl, methyl ester. |
| U271 | 17804-35-2 | Carbamic acid, [1-[(butylamino)carbonyl]-1H-benzimidazol-2-yl]-, methyl ester. |
| U280 | 101-27-9 | Carbamic acid, (3-chlorophenyl)-, 4-chloro-2-butynyl ester |
| U238 | 51-79-6 | Carbamic acid, ethyl ester |
| U178 | 615-53-2 | Carbamic acid, methylnitroso-, ethyl ester |
| U373 | 122-42-9 | Carbamic acid, phenyl-, 1-methylethyl ester |
| U409 | 23564-05-8 | Carbamic acid, [1,2-phenylenebis (iminocarbonothioyl)]bis-, dimethyl ester. |
| U097 | 79-44-7 | Carbamic chloride, dimethyl- |
| U389 | 2303-17-5 | Carbamothioic acid, bis(1-methylethyl)-, S-(2,33-trichloro-2-propenyl) ester. |
| U387 | 52888-80-9 | Carbamothioic acid, dipropyl-, S(phenylmethyl) ester. |
| U114 | 1111-54-6 | Carbamodithioic acid, 1,2-ethanediylbis-, salts & esters |
| U062 | 2303-16-4 | Carbamothioic acid, bis(1-methylethyl)-, S-(2,3-dichloro-2-propenyl ester |
| U279 | 63-25-2 | Carbaryl |
| U372 | 10605-21-7 | Carbendazim |
| U367 | 1563-38-8 | Carbofuran phenol |
| U215 | 6533-73-9 | Carbonic acid, dithallium (1+) salt |
| U033 | 353-50-4 | Carbonic difluoride |
| U156 | 79-22-1 | Carbonochloridic acid, methyl ester (I,T) |
| U033 | 353-50-4 | Carbon oxyfluoride (R,T) |
| U211 | 56-23-5 | Carbon tetra chloride |
| U034 | 75-87-6 | Chloral |
| U035 | 305-03-3 | Chlorambucil |
| U036 | 57-74-9 | Chlordane, alpha & gamma isomers |
| U026 | 494-03-1 | Chlornaphazin |
| U03 | 108-90-7 | Chlorobenzene |
| U038 | 510-15-6 | Chlorobenzilate |
| U039 | 59-50-7 | p-Chloro-m-cresol |
| U042 | 110-75-8 | 2-Chloroethyl vinyl ether |
| U044 | 67-66-3 | Chloroform |
| U046 | 107-30-2 | Chloromethyl methyl ether |
| U047 | 91-58-7 | Beta-Chloronaphthalene |
| U048 | 95-57-8 | o-Chlorophenol |
| U049 | 3465-93-3 | 4-Chloro-m-cresol |
| U032 | 13765-19-0 | Chromic acid H2CrO4, calcium salt |
| U050 | 218-01-9 | Chrysene |
| U051 | …………... | Creosote |
| U052 | 1319-77-3 | Cresol (Cresylic acid) |
| U053 | 4170-30-3 | Crotonaldehyde |
| U055 | 98-82-8 | Cumene (I) |
| U246 | 506-68-3 | Cyanogen bromide (CN)Br |
| U197 | 106-51-4 | 2,5-Cyclohexadiene-1,4-dione |
| U056 | 110-82-7 | Cyclohexane (I) |
| U129 | 58-89-9 | Cyclohexane, 1,2,3,4,5,6-hexachloro-, (1alpha, 2alpha, 3beta, 4alpha, 5alpha, 6beta)- |
| U057 | 108-94-1 | Cyclohexanone (I) |
| U130 | 77-47-4 | 1,3-cyclopentadinene, 1,2,3,4,5,5-hexachloro- |
| U058 | 50-18-0 | Cyclophosphamide |
| U240 | 1 94-75-7 | 2,4-D, salts & esters |
| U059 | 20830-81-3 | Daunomycin |
| U060 | 72-54-8 | DDD |
| U061 | 50-29-3 | DDT |
| U062 | 2303-16-4 | Diallate |
| U063 | 53-70-3 | Dibenz[a,h]anthracene |
| U064 | 189-55-9 | Dibenzo[a,i]pyrene |
| U066 | 96-12-8 | 1,2-Dibromo-3-chloropropane |
| U069 | 84-74-2 | Dibutyl phthalate |
| U070 | 95-50-1 | o-Dichlorobenzene |
| U071 | 541-73-1 | m-Dichlorobenzene |
| U072 | 106-46-7 | p-Dichlorobenzene |
| U073 | 91-94-1 | 3,3’-Dichlorobenzidine |
| U074 | 764-41-0 | 1,4-Dichloro-2-butene (I,T) |
| U075 | 75-71-8 | Dichlorodifluoromethane |
| U078 | 75-35-4 | 1,1-Dichloroethylene |
| U079 | 156-60-5 | 1,2-Dichloroethylene |
| U025 | 111-44-4 | Dichloroethyl ether |
| U027 | 108-60-1 | Dichloroisopropyl ether |
| U024 | 111-91-1 | Dichloromethoxy ethane |
| U081 | 120-83-2 | 2,4-Dichlorophenol |
| U082 | 87-65-0 | 2,6-Dichlorophenol |
| U084 | 542-75-6 | 1,3-Dichloropropene |
| U085 | 1464-53-5 | 1,2:3,4-Diepoxybutane (I,T) |
| U108 | 123-91-1 | 1,4-Diethyleneoxide |
| U028 | 117-81-7 | Diethylhexyl phthalate |
| U395 | 5952-26-1 | Diethylene glycol, dicarbamate |
| U086 | 1615-80-1 | N,N’-Diethylhydrazine |
| U087 | 3288-58-2 | O,O-Diethyl S-methyl dithiophosphate |
| U088 | 84-66-2 | Diethyl phthalate |
| U089 | 56-53-1 | Diethylstilbesterol |
| U090 | 94-58-6 | Dihydrosafrole |
| U091 | 119-90-4 | 3,3’-Dimethoxybenzindine |
| U092 | 124-40-3 | Dimethylamine (I) |
| U093 | 60-11-7 | p-Dimethylaminoazobenzene |
| U094 | 57-97-9 | 7,12-Dimethylbenz[a]anthracene |
| U095 | 119-93-7 | 3,3’-Dimethylbenzindine |
| U096 | 80-15-9 | Alpha,alpha-Dimethylbenzylhydroperoxide (R) |
| U097 | 79-44-7 | Dimethylcarbamoyl chloride |
| U098 | 57-14-7 | 1,1-Dimethylhydrazine |
| U099 | 540-73-8 | 1,2-Dimethylhydrazine |
| U101 | 105-67-9 | 2,4-Dimethylphenol |
| U102 | 131-11-3 | Dimethyl phthalate |
| U103 | 77-78-1 | Dimethyl sulfate |
| U105 | 121-14-2 | 2,4-Dinitrotoluene |
| U106 | 606-20-2 | 2,6-Dinitrotoluene |
| U107 | 117-84-0 | Di-n-octyl phthalate |
| U108 | 123-97-1 | 1,4-Dioxane |
| U109 | 122-66-7 | 1,2-Diphenylhydrazine |
| U110 | 142-84-7 | Dipropylamine (I) |
| U111 | 621-64-7 | Di-n-propylnitrosamine |
| U041 | 106-89-8 | Epichlorohydrin |
| U001 | 75-07-0 | Ethanal (I) |
| U404 | 121-44-8 | Ethanamine, N,N-diethyl- |
| U174 | 55-18-5 | Ethanamine, N-ethyl-N-nitroso- |
| U155 | 91-80-5 | 1,2-Ethanediamine, N,N-dimethyl-N’-2-pyridinyl-N’-(2-thienylmethyl)- |
| U067 | 106-93-4 | Ethane, 1,2-dibromo- |
| U076 | 75-34-3 | Ethane, 1,1-dichloro- |
| U077 | 107-06-2 | Ethane, 1,2-dichloro- |
| U131 | 67-72-1 | Ethane, hexachloro- |
| U024 | 111-91-1 | Ethane, 1,1’-[methylenebis(oxy)bis[2-chloro- |
| U117 | 60-29-7 | Ethane, 1,1’-oxybis- (I) |
| U025 | 111-44-4 | Ethane, 1,1’-oxybis[2-chloro- |
| U184 | 76-01-7 | Ethane, pentachloro- |
| U208 | 630-20-6 | Ethane, 1,1,1,2-tetrachloro- |
| U209 | 79-34-5 | Ethane, 1,1,2,2-tetrachloro- |
| U218 | 62-55-5 | Ethanethioamide |
| U226 | 71-55-6 | Ethane, 1,1,1-trichloro- |
| U227 | 79-00-5 | Ethane, 1,1,2-trichloro- |
| U410 | 59669-26-0 | Ethanimidothioic acid, N,N’-[thiobis[( (methylimino)carbonyloxy)]]bis-, dimethyl ester |
| U394 | 30558-43-1 | Ethanimidothioic acid, 2-(dimethylamino)-N-hydroxy-2-ox0-,methyl ester |
| U359 | 110-80-5 | Ethanol, 2-ethoxy- |
| U173 | 1116-54-7 | Ethanol, 2,2’-(nitrosoimino)bis- |
| U395 | 5952-26-1 | Ethanol, 2,2’-oxybis- dicarbamate |
| U004 | 98-86-2 | Ethanone, 1-phenyl- |
| U043 | 75-01-4 | Ethene, chloro- |
| U042 | 110-75-8 | Ethene, (2-Chloroethoxy)- |
| U078 | 75-35-4 | Ethene, 1,1-dichloro- |
| U079 | 156-60-5 | Ethene, 1,2-dichloro- (E)- |
| U210 | 127-18-4 | Ethene, tetrachloro- |
| U228 | 79-01-6 | Ethene, trichloro- |
| U112 | 141-78-6 | Ethyl acetate (I) |
| U113 | 140-88-5 | Ethyl acrylate (I) |
| U238 | 51-79-6 | Ethyl carbamate (urethane) |
| U117 | 60-29-7 | Ethyl ether (I) |
| U114 | 1111-54-6 | Ethylenebisdithiocarbamic acid, salts & esters |
| U067 | 106-93-4 | Ethylene dibromide |
| U077 | 107-06-2 | Ethylene dichloride |
| U359 | 110-80-5 | Ethylene glycol monoethyl ether |
| U115 | 75-21-8 | Ethylene oxide (I,T) |
| U116 | 96-45-7 | Ethylenethiourea |
| U076 | 75-34-3 | Ethylidene dichloride |
| U118 | 97-63-2 | Ethyl methacrylate |
| U119 | 62-50-0 | Ethyl methanesulfonate |
| U120 | 206-44-0 | Fluoranthene |
| U122 | 50-00-0 | Formaldehyde |
| U123 | 64-18-6 | Formic Acid (C,T) |
| U124 | 110-00-9 | Furan (I) |
| U125 | 98-01-1 | 2-Furancarboxaldehyde (I) |
| U147 | 108-31-6 | 2,5-Furandione |
| U213 | 109-99-9 | Furan, tetrahydro (I) |
| U125 | 98-01-1 | Furfural (I) |
| U124 | 110-00-9 | Furfuran (I) |
| U206 | 18883-66-4 | Glucopyranose, 2-deoxy-2-(3-methyl-3-nitrosoureido)-, D- |
| U206 | 18883-66-4 | D-Glucose, 2-deoxy-2-[[(methylnitrosoamino)-carbonyl]amino]- |
| U126 | 765-34-4 | Glycidylaldehyde |
| U163 | 70-25-7 | Guanidine, N-methyl-N’-nitro-N-nitroso- |
| U127 | 118-74-1 | Hexachlorobenzene |
| U128 | 87-68-3 | Hexachlorobutadiene |
| U130 | 77-47-4 | Hexachlorocyclopentadiene |
| U131 | 67-72-1 | Hexachloroethane |
| U132 | 70-30-4 | Hexachlorophene |
| U243 | 1888-71-7 | Hexachloropropene |
| U133 | 302-01-2 | Hydrazine, (R,T) |
| U086 | 1615-80-1 | Hydrazine, 1,2-dimethyl- |
| U098 | 57-14-7 | Hydrazine, 1,1-dimethyl- |
| U099 | 540-73-8 | Hydrazine, 1,2-dimethyl- |
| U109 | 122-66-7 | Hydrazine, 1,2-diphenyl- |
| U134 | 7664-39-3 | Hydrofluoric acid (C,T) |
| U134 | 7664-39-3 | Hydrogen fluoride (C,T) |
| U135 | 7783-06-4 | Hydrogen sulfide |
| U135 | 7783-06-4 | Hydrogen sulfide H2S |
| U096 | 80-15-9 | Hydroperoxide,1-methyl-1-phenylethyl(R) |
| U116 | 96-45-7 | 2-imidazolidinethione |
| U137 | 193-39-5 | Indeno[1,2,3-cd]pyrene |
| U190 | 85-44-9 | 1,3-Isobenzofurandione |
| U140 | 78-83-1 | Isobutyl alcohol (I,T) |
| U141 | 120-58-1 | Isosafrole |
| U142 | 143-50-0 | Kepone |
| U143 | 303-34-4 | Lasiocarpine |
| U144 | 301-04-2 | Lead acetate |
| U146 | 1335-32-6 | Lead, bis(acetato-O)tetrahydroxytri- |
| U145 | 7446-27-7 | Lead phosphate |
| U146 | 1335-32-6 | Lead subacetate |
| U129 | 58-89-9 | Lindane |
| U163 | 70-25-7 | MNNG |
| U147 | 108-31-6 | Maleic anhydride |
| U148 | 123-33-1 | Maleic hydrazide |
| U149 | 109-77-3 | Malononitrile |
| U150 | 148-82-3 | Melphalan |
| U151 | 7439-97-6 | Mercury |
| U152 | 126-98-7 | Methacrylonitrile (I,T) |
| U092 | 124-40-3 | Methanamine, N-Methyl- (I) |
| U029 | 74-83-9 | Methane, bromo- |
| U045 | 74-87-3 | Methane, chloro- (I,T) |
| U046 | 107-30-2 | Methane, chloromethoxy- |
| U068 | 74-95-3 | Methane, dibromo- |
| U080 | 75-09-2 | Methane, dichloro- |
| U075 | 75-71-8 | Methane, dichlorodifluoro- |
| U138 | 74-88-4 | Methane, iodo- |
| U119 | 62-50-0 | Methanesulfonic acid, ethyl ester |
| U211 | 56-23-5 | Methane, tetrachloro- |
| U153 | 74-93-1 | Methanethiol (I,T) |
| U225 | 75-25-2 | Methane, tribromo- |
| U044 | 67-66-3 | Methane, trichloro- |
| U121 | 75-69-4 | Methane, trichlorofluoro- |
| U036 | 57-74-9 | 4,7-Methano-1H-indene, 1,2,4,5,6,7,8,8-octachloro-2,3,3a,4,7,7a-hexahydro- |
| U154 | 67-56-1 | Methanol (I) |
| U155 | 91-80-5 | Methapyrilene |
| U142 | 143-20-0 | 1,3,4-Metheno-2H-cyclobuta[cd]pentalen-2-one, 1,1a,3,3a,4,5,5a,5b,6-decachloroactahydro- |
| U247 | 72-43-5 | Methoxychlor |
| U154 | 67-56-1 | Methyl alcohol (I) |
| U029 | 74-83-9 | Methyl bromide |
| U186 | 504-60-9 | 1-Methylbutadiene (I) |
| U045 | 74-87-3 | Methyl chloride (I,T) |
| U156 | 79-22-1 | Methyl chlorocarbonate (I,T) |
| U226 | 71-55-6 | Methyl chloroform |
| U157 | 56-49-5 | 3-Methylcholanthrene |
| U158 | 101-14-4 | 4,4’-Methylenebis(2-chloroaniline) |
| U068 | 74-95-3 | Methylene bromide |
| U080 | 75-09-2 | Methylene chloride |
| U159 | 78-93-3 | Methyl ethyl ketone (MEK) (I,T) |
| U160 | 1338-23-4 | Methyl ethyl ketone peroxide (R,T) |
| U138 | 74-88-4 | Methyl iodide |
| U161 | 108-10-1 | Methyl isobutyl ketone (I) |
| U162 | 80-62-6 | Methyl methacrylate (I,T) |
| U161 | 108-10-1 | 4-Methyl-2-pentanone (I) |
| U164 | 56-04-2 | Methylthiouracil |
| U010 | 50-07-7 | Mitomycin C |
| U059 | 20830-81-3 | 5,12-Naphthacenedione, 8-acetyl-10-[(3-amino-2,3,6-trideoxy)-alpha-L-lyxo-hexopyranosyl)oxy]-7,8,9,10-tetrahydro-6,8,11-trihydroxy-1-methoxy-, (8S-cis)- |
| U167 | 134-32-7 | 1-Naphthalenamine |
| U168 | 91-59-8 | 2-Naphthalenamine |
| U026 | 494-03-1 | Naphthalenamine,N,N’-bis(2-chloroethyl)- |
| U165 | 91-20-3 | Naphthalene |
| U047 | 91-58-7 | Naphthalene, 2-chloro- |
| U166 | 130-15-4 | 1,4-Naphthalenedione |
| U236 | 72-57-1 | 2,7-Naphthalenedisulfonic acid, 3,3’-[(3,3’-dimethyl[1,1’-diphenyl]-4,4’-diyl)bis(azo)bis[5-amino-4-hydroxy]-, tetrasodium salt |
| U279 | 63-25-2 | 1-Naphthalenol, methylcarbamate |
| U168 | 130-15-4 | 1,4-Naphthoquinone |
| U167 | 134-32-7 | alpha-naphthylamine |
| U168 | 91-59-8 | beta-naphthylamine |
| U217 | 10102-45-1 | Nitric Acid, thallium(1+) salt |
| U169 | 98-95-3 | Nitrobenzene (I,T) |
| U170 | 100-02-7 | p-Nitrophenol |
| U171 | 79-46-9 | 2-Nitropropane (I,T) |
| U172 | 924-16-3 | N-Nitrosodi-n-butylamine |
| U173 | 1116-54-7 | N-Nitrosodiethanolamine |
| U174 | 55-18-5 | N-Nitrosodiethylamine |
| U176 | 759-73-9 | N-Nitroso-N-ethylurea |
| U177 | 684-93-5 | N-Nitroso-N-methylurea |
| U178 | 615-53-2 | N-Nitroso-N-methylurethane |
| U179 | 100-75-4 | N-Nitrosopiperidine |
| U180 | 930-55-2 | N-Nitrosopyrrolidine |
| U181 | 99-55-8 | 5-Nitro-o-toluidine |
| U193 | 1120-71-4 | 1,2-Oxathiolane, 2,2-dioxide |
| U058 | 50-18-0 | 2H-1,3,2-Oxazaphosphorin-2-amine, N,N-bis(2-chloroethyl)tetrahydro-, 2-oxide |
| U115 | 75-21-8 | Oxirane (I,T) |
| U126 | 765-34-4 | Oxiranecarboxyaldehyde |
| U041 | 106-89-8 | Oxirane, (chloromethyl)- |
| U042 | 123-63-7 | Paraldehyde |
| U183 | 608-93-5 | Pentachlorobenzene |
| U184 | 76-01-7 | Pentachloroethane |
| U185 | 82-68-8 | Pentachloronitrobenzene (PCNB) |
| See F027 | 87-86-5 | Pentachlorophenol |
| U161 | 108-10-1 | Pentanol, 4-methyl- |
| U186 | 504-60-9 | 1,3-Pentadiene (I) |
| U187 | 62-44-2 | Phenacetin |
| U188 | 108-95-2 | Phenol |
| U048 | 95-57-8 | Phenol, 2-chloro- |
| U039 | 59-50-7 | Phenol, 4-chloro-3-methyl- |
| U081 | 120-83-2 | Phenol, 2,4-dichloro- |
| U082 | 87-65-0 | Phenol, 2,6-dichloro- |
| U089 | 56-53-1 | Phenol, 4,4’-(1,2-diethyl-1,2-ethenediyl)bis-, (E) |
| U101 | 105-67-9 | Phenol, 2,4-dimethyl |
| U052 | 1319-77-3 | Phenol, methyl- |
| U132 | 70-30-4 | Phenol, 2,2’-methylenebis[3,4,6-trichloro- |
| U411 | 114-26-1 | Phenol, 2-(1-methylethoxy)-, methylcarbamate. |
| U170 | 100-02-7 | Phenol, 4-nitro- |
| See F027 | 87-86-5 | Phenol, pentachloro- |
| See F027 | 58-90-2 | Phenol, 2,3,4,6-tetrachloro- |
| See F027 | 95-95-4 | Phenol, 2,4,5-trichloro- |
| See F027 | 88-06-2 | Phenol, 2,4,6-trichloro- |
| U150 | 148-82-3 | L-Phenylalanine, 4-[bis(2-chloroethyl)amino]- |
| U145 | 7446-27-7 | Phosphoric acid, lead(2+) salt (2:3) |
| U087 | 3288-58-2 | Phosphorodithioic acid, O,O-diethyl S-methyl ester |
| U189 | 1314-80-3 | Phosphorus sulfide (R) |
| U190 | 85-44-9 | Phthalic anhydride |
| U191 | 109-06-8 | 2-Picoline |
| U179 | 100-75-4 | Piperidine, 1-nitroso- |
| U192 | 23950-58-5 | Pronamide |
| U194 | 107-10-8 | 1-Propanamine (I,T) |
| U111 | 621-64-7 | 1-Propanamine, N-nitroso-N-propyl- |
| U110 | 142-84-7 | 1-Propanamine, N-propyl- (I) |
| U066 | 96-12-8 | Propane, 1,2-dibromo-3-chloro- |
| U083 | 78-87-5 | Propane, 1,2-dichloro- |
| U149 | 109-77-3 | Propanedinitrile |
| U171 | 79-46-9 | Propane, 2-nitro- (I,T) |
| U027 | 108-60-1 | Propane, 2,2’-oxybis[2-chloro- |
| U193 | 1120-71-4 | 1,3-Propane sultone |
| See F027 | 93-72-1 | Propanoic acid, 2-(2,4,5-trichlorophenoxy)- |
| U235 | 126-72-7 | 1-Propanol, 2,3-dibromo-, phosphate (3:1) |
| U140 | 78-83-1 | 1-Propanol, 2-methyl- (I,T) |
| U002 | 67-64-1 | 2-Propanone (I) |
| U007 | 79-06-1 | 2-Propenamide |
| U084 | 542-75-6 | 1-Propene, 1,3-dichloro- |
| U243 | 1888-71-7 | 1-Propene, 1,1,2,3,3,3-hexachloro- |
| U009 | 107-13-1 | 2-Propenenitrile |
| U152 | 126-98-7 | 2-Propenenitrile, 2-methyl- (I,T) |
| U008 | 79-10-7 | 2-Propenoic acid (I) |
| U113 | 140-88-2 | 2-Propenoic acid, ethyl ester (I) |
| U118 | 97-63-2 | 2-Propenoic acid, 2-methyl-, ethyl ester |
| U162 | 80-62-6 | 2-Propenoic acid, 2-methyl-, methyl ester (I,T) |
| U373 | 122-42-9 | Propham |
| U411 | 114-26-1 | Propoxur |
| U387 | 52888-80-9 | Prosulfocarb |
| U194 | 107-10-8 | n-Propylamine (I,T) |
| U083 | 78-87-5 | Propylene dichloride |
| U148 | 123-33-1 | 3,6-Pyridazinedione, 1,2-dihydro- |
| U196 | 110-86-1 | Pyridine |
| U191 | 109-06-8 | Pyridine, 2-methyl- |
| U237 | 66-75-1 | 2,4-(1H,3H)-Pyrimidinedione, 5-[bis(2-chloroethyl)amino]- |
| U167 | 56-04-2 | 4(1H)-Pyrimidinone, 2,3-dihydro-6-methyl-2-thioxo- |
| U180 | 930-55-2 | Pyrrolidine, 1-nitroso- |
| U200 | 50-55-5 | Reserpine |
| U201 | 108-46-3 | Resorcinol |
| U202 | 1 81-07-2 | Saccharin, & salts |
| U203 | 94-59-7 | Safrole |
| U204 | 7783-00-8 | Selenious acid |
| U204 | 7783-00-8 | Selenium dioxide |
| U205 | 7488-56-4 | Selenium sulfide |
| U205 | 7488-56-4 | Selenium sulfide SeS2 (R,T) |
| U015 | 115-02-6 | L-Serine, diazoacetate (ester) |
| See F027 | 93-72-1 | Silvex (2,4,5-TP) |
| U206 | 18883-66-4 | Streptozotocin |
| U103 | 77-78-1 | Sulfuric acid, dimethyl ester |
| U189 | 1314-80-3 | Sulfur phosphide (R) |
| See F027 | 93-76-5 | 2,4,5-T |
| U207 | 95-94-3 | 1,2,4,5-Tetrachlorobenzene |
| U208 | 630-20-6 | 1,1,1,2-Tetrachloroethane |
| U209 | 79-34-5 | 1,1,2,2-Tetrachloroethane |
| U210 | 127-18-4 | Tetrachloroethylene |
| See F027 | 58-90-2 | 2,3,4,6-Tetrachlorophenol |
| U213 | 109-99-9 | Tetrahydrofuran (I) |
| U214 | 630-20-6 | Thallium (I) acetate |
| U215 | 6533-73-9 | Thallium (I) carbonate |
| U216 | 7791-12-0 | Thallium (I) chloride |
| U216 | 7791-12-0 | Thallium Chloride Tlcl |
| U217 | 10102-45-1 | Thallium (I) nitrate |
| U218 | 62-55-5 | Thioacetamide |
| U410 | 59669-26-0 | Thiodicarb |
| U153 | 74-93-1 | Thiomethanol (I,T) |
| U244 | 137-26-8 | Thioperoxydicarbonic diamide [(H2N)C(S)]2 S2, tetramethyl- |
| U409 | 23564-05-8 | Thiophanate-methyl |
| U219 | 62-56-6 | Thiourea |
| U244 | 137-26-8 | Thiram |
| U220 | 108-88-3 | Toluene |
| U221 | 25376-45-8 | Toluenediamine |
| U223 | 26471-62-5 | Toluene diisocyanate (R,T) |
| U328 | 95-53-4 | o-Toluidine |
| U353 | 106-49-0 | p-Toluidine |
| U222 | 636-21-5 | o-Toluidine hydrochloride |
| U389 | 2303-17-5 | Triallate |
| U011 | 61-82-5 | 1H-1,2,4-Triazol-3-amine |
| U408 | 118-79-6 | 2,4,6-Tribromophenol |
| U227 | 79-00-5 | 1,1,2-Trichloroethane |
| U228 | 79-01-6 | Trichloroethylene |
| U121 | 75-69-4 | Trichloromonofluoromethane |
| See F027 | 95-95-4 | 2,4,5-Trichlorophenol |
| See F027 | 88-06-2 | 2,4,6-Trichlorophenol |
| U404 | 121-44-8 | Triethylamine |
| U234 | 99-35-4 | 1,3,5-trinitrobenzene (R,T) |
| U182 | 123-63-7 | 1,3,5-Trioxane, 2,4,6-trimethyl- |
| U235 | 126-72-7 | Tris(2,3-dibromopropyl) phosphate |
| U236 | 72-57-1 | Trypan blue |
| U237 | 66-75-1 | Uracil mustard |
| U176 | 759-73-9 | Urea, N-ethyl-N-nitroso- |
| U177 | 684-93-5 | Urea, N-methyl-N-nitroso- |
| U043 | 75-01-4 | Vinyl chloride |
| U248 | 1 81-81-2 | Warfarin, & salts when present at concentrations of 0.3% or less |
| U239 | 1330-20-7 | Xylene (I) |
| U200 | 50-55-5 | Yohimban-16-carboxylic acid, 11,17-dimethoxy-18-[3,4,5-trimethoxybenzoyl)oxy)]-, methyl ester, (3beta, 16beta, 17alpha, 18beta, 20alpha)- |
| U249 | 1314-84-7 | Zinc phosphide Zn3 P2, when present at concentrations of 10% or less |

1 CAS Number given for parent compound only.