A.  HOUSEKEEPING

1. Dirty work surfaces/spilled chemicals

2. Excessive clutter on lab benches

3. Excessive clutter on lab floors

4. Excessive amounts of combustibles near ignition source

5. Items in refrigerator/freezer are stored in orderly fashion

6. Tripping hazards present

B.  GENERAL SAFETY

1. Cryogenic cylinder/Dewar damaged

2. Cryogenic cylinder safety devices compromised

3. Damaged Bunsen burner tubing

4. Glass items stored directly on floor

5. Glass under pressure (Rotovap, glass Dewars, etc.) properly shielded or wrapped

6. High pressure cylinder secured in an approved manner

7. High pressure cylinder labeled appropriately Full/In Use/Empty

8. High pressure cylinder cap in place on cylinder that is not is use

9. Laboratory door closes and/or latches properly

10. Lab equipment missing belt and pulley guard

11. Laboratory unoccupied and door found unlocked

12. Sink available for hand washing

13. Paper towels available at sink for hand washing

14. Soap available at sink for hand washing

15. Storage within 18" of sprinkler head

16. Storage within 24" of ceiling

17. Vacuum pump leaking oil/venting exhaust

18. Vacuum pump missing belt and pulley guard

19. Unlocked refrigerator/freezer/chemical storage cabinet in common area

C.  BIOSAFETY

1. Biosafety cabinet not certified/needs recertification

2. Biosafety cabinet is overcrowded, blocking airflow

3. Biowaste container over-filled

4. Biowaste found in regular trash

5. Biowaste stored on floor and not in secondary containment

6. Centrifuge caps in place

7. Centrifuge has sealed rotor

8. Cloth-covered furniture in lab

9. Door to BSL-2 lab is self-closing

10. BSL-2 Entry/Exit signage in place

11. BSL-2 Entry/Exit signage correct

12. Gas in use inside Biosafety cabinet

13. Primary Biowaste container not present/available in Biosafety cabinet

14. Sharps container is available

15. Improper sharps container

16. Sharps containers more than 3/4 full

17. Sharps left out on bench top

D.  FUME HOODS

1. Chemicals stored in the fume hood

2. Electrical power strips in fume hood

3. Equipment positioned too close (within 8 inches) to the lip

4. Excessive amount of equipment/clutter in the fume hood

5. Fume hood requires cleaning

6. Flow alarm functioning correctly

7. Fume hood certification out of date

8. Fume hood visibly damaged

9. Items hanging from fume hood control knobs

10. Lab occupants working in fume hood with the sash in full-open position

11. Loose paper in fume hood

12. Open containers in fume hood

13. Sash left in the open position

E.  CHEMICALS

1. Chemicals properly labeled

2. Chemical label damaged and/or unreadable

3. Chemical container is faulty or damaged

4. Chemicals stored according to hazard classification

5. Acids and Bases stored together

6. Oxidizers and Flammables stored together

7. Chemicals stored on bench top

8. Chemicals stored on the floor

9. Chemicals stored under the sink

10. Chemicals stored with labels facing out

11. Flammable chemicals stored by ignition source

12. Flammable chemicals stored in cold room

13. Flammable chemicals stored in household style refrigerator/freezer

14. Flammable liquids not stored in a Flammable Liquids Storage Cabinet

15. Hazardous chemicals stored above eye level

16. Improper storage of Perchloric Acid

17. Large bottle stored in front of small bottles

18. Unstable chemicals present

19. Chemicals are appropriately dated with date received and date opened

20. Safety Data Sheets (SDS) are available and accessible for chemicals used in the laboratory

F.  WASTE MANAGEMENT

1. Chemical waste container labeled as "Hazardous Waste"

2. Chemical waste container has label identifying contents

3. Chemical waste container left open

4. Chemical waste container not in secondary containment

5. Chemical waste container ready for pick up but not appropriately tagged

6. Chemical waste container is being moved and shared between labs

7. Chemical waste is segregated by hazard classification

8. Glass disposal box more than 3/4 full

9. Glass waste box is lined

10. Glass waste/sharps found in regular trash

11. Glass disposal box properly labeled

12. Old chemicals present and in need of disposal

G.  SAFETY EQUIPMENT

1. Eyewash is available

2. Eyewash obstructed

3. Eyewash inspection is out of date/not flushed weekly

4. Eyewash not working properly or is damaged

5. Eyewash caps missing/not in place

6. Fire extinguisher inspection is out of date/not checked monthly

7. Fire extinguisher located near the door

8. Fire extinguisher sitting on the floor

9. Fire extinguisher obstructed

10. Fire extinguisher is damaged/missing pin/missing tamper seal or has been discharged

11. Safety shower inspection is out of date/not checked monthly

12. Safety shower obstructed

13. Safety shower appears to be damaged or is missing pull handle/chain

14. Spill clean-up materials are available and visibly accessible

H.  SAFE LAB PRACTICES

1. Cryogenic material stored in cold room

2. Domestic refrigerator/freezer labeled "No Flammables"

3. Equipment with hot surfaces are properly labeled

4. Evidence of eating and drinking in the lab

5. Food/beverages stored in the lab/refrigerator/freezer

6. Food utensils washed in lab sink

7. Ice maker labeled "Not for Human Consumption"

8. Improper clothing worn by lab occupants

9. Improper footwear worn by lab occupants

10. Personal Protective Equipment is available and visibly accessible

11. PPE (gloves, aprons, lab coats, safety goggles, etc.) worn when needed

12. Lab occupants are removing lab coats before leaving the lab

13. Lab occupants are removing gloves before leaving the lab

14. Lab occupants are washing hands before leaving the lab

15. Labels on empty/reused bottles are adequately defaced

16. Laboratory door propped/left open

17. Microwave labeled "For Lab Use Only"

18. Emergency contact information posted outside lab door

19. "In Case of Emergency" information is current

I.  MECHANICAL

1.  Machine guarding (including emergency stop and lock-out controls) are in place.

2.  Cutting instruments (razor blades, knives, etc.) are sheathed

J.  ELECTRICAL

1. Access to electrical panel box obstructed

2. Cover removed from electrical panel

3. Electrical cord(s) cracked, broken, missing ground, or otherwise damaged

4. Electrical cord(s) poses tripping hazard

5. Electrical junction box cover is missing or out of place

6. Electrical outlet/switch-plate cover missing or damaged

7. Electrical outlet visibly damaged

8. Extension cord used as substitute for permanent wiring

9. Exposed wiring

10. Power strips connected in series